## Academic
Exhibit 2
Line Number | Part Number | Description | Service Duration (Months) | Estimated Lead Time (Days) | Unit List Price | Pricing Term | Qty | Unit Net Price | Disc(%) | Extended Net Price
2 | WS-C4507R+E | Catalyst4500E 7 slot chassis for 48Gbps/slot, fan, no ps | --- | 28 | 7940 |  | 1 | 7940 | 0 | 7940
2.0.1 | CON-SMB3-C4507R+E | SMB SA 8X5XNBD 3 YR Catalyst4500E 7 slot chassis for 48Gbps | 36 | N/A | 4554 |  | 1 | 4554 | 0 | 4554
2.1 | S45EUK9-S8-38E | CAT4500e SUP8e Universal Crypto Image | --- | 28 | 0 |  | 1 | 0 | 0 | 0
2.2 | C4K-SLOT-CVR-E | Catalyst 4500 E-Series Family Slot Cover | --- | 28 | 0 |  | 3 | 0 | 0 | 0
2.3 | C4500E-IPB | Paper IP Base License | --- | 28 | 0 |  | 1 | 0 | 0 | 0
2.4 | WS-X45-SUP8-E | Catalyst 4500 E-Series Supervisor 8-E | --- | 28 | 20995 |  | 1 | 20995 | 0 | 20995
2.5 | WS-X4748-12X48U+E | Catalyst 4500E 48-Port UPOE w/ 12p mGig and 36p 10/100/1000 | --- | 28 | 11500 |  | 1 | 11500 | 0 | 11500
2.6 | WS-X4748-UPOE+E | Catalyst 4500E 48-Port UPOE 10/100/1000(RJ45) | --- | 38 | 9920 |  | 1 | 9920 | 0 | 9920
2.7 | WS-X4748-12X48U+E | Catalyst 4500E 48-Port UPOE w/ 12p mGig and 36p 10/100/1000 | --- | 28 | 11500 |  | 1 | 11500 | 0 | 11500
2.8 | PWR-C45-4200ACV | Catalyst 4500 4200W AC dual input Power Supply (Data + PoE) | --- | 28 | 3145 |  | 1 | 3145 | 0 | 3145
2.9 | CAB-C19-CBN | Cabinet Jumper Power Cord, 250 VAC 16A, C20-C19 Connectors | --- | 8 | 0 |  | 4 | 0 | 0 | 0
2.1 | PWR-C45-4200ACV/2 | Catalyst 4500 4200W AC dual input Power Supply (Data + PoE) | --- | 28 | 3145 |  | 1 | 3145 | 0 | 3145
2.11 | C4500E-DNA-E | C4500 DNA Essentials Term licenses | --- | 28 | 0 |  | 1 | 0 | 0 | 0
2.11.0.1 | C4500E-DNA-E-3Y | C4500E DNA Essentials 3 Year Term license | 36 | N/A | 3600 |  | 1 | 3600 | 0 | 3600
3 | AIR-AP3802I-BK910 | 802.11ac W2 10 AP w/CA; 4x4:3SS; Int Ant; mGig -B Domain | --- | 28 | 17950 |  | 2 | 17950 | 0 | 35900
3.1 | AIR-AP3802I-BBULK | BOM Level AP3800i Bulk PID for B Domain | --- | 28 | 0 |  | 20 | 0 | 0 | 0
3.2 | AIR-AP-T-RAIL-R | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | --- | 28 | 0 |  | 20 | 0 | 0 | 0
3.3 | AIR-AP-BRACKET-1 | 802.11 AP Low Profile Mounting Bracket (Default) | --- | 28 | 0 |  | 20 | 0 | 0 | 0
3.4 | SW3802-CAPWAP-K9 | Cisco Aironet 3800 Series CAPWAP Software Image | --- | 28 | 0 |  | 20 | 0 | 0 | 0
6 | CP-7821-K9-RF | Cisco UC Phone 7821 REMANUFACTURED | --- | N/A | 153 |  | 10 | 153 | 0 | 1530
6.0.1 | CON-SNT-CP7821K9 | SNTC-8X5XNBD Cisco UC Phone 7821 | 36 | N/A | 30 |  | 0 | 30 | 0 | 0
7 | CP-7800-WMK= | Spare Wallmount Kit for Cisco UC Phone 7800 Series | --- | 28 | 80 |  | 12 | 80 | 0 | 960
8 | CP-8832-W-K9 | Cisco IP Conference Phone 8832 in White Color N America | --- | 56 | 1595 |  | 1 | 1595 | 0 | 1595
8.0.1 | CON-SNT-CPW8832W | SNTC-8X5XNBD Cisco IP Conference Phone 8832 in White | 36 | N/A | 264 |  | 1 | 264 | 0 | 264
8.1 | CP-8832-POE | Cisco IP Conference Phone 8832 PoE Accessories for Worldwide | --- | 60 | 125 |  | 1 | 125 | 0 | 125
9 | CP-8865-K9= | Cisco IP Phone 8865 | --- | 42 | 795 |  | 1 | 795 | 0 | 795
9.0.1 | CON-SNT-CP8865KP | SNTC-8X5XNBD Cisco IP Phone 8865 | 36 | N/A | 75 |  | 1 | 75 | 0 | 75
10 | CP-8800-V-KEM | 8800 Series Video KEM, 28 Button | --- | N/A | 520 |  | 1 | 520 | 0 | 520
10.0.1 | CON-SNT-CP88E0VK | SNTC-8X5XNBD 8800 Series Video KEM, 28 Button | 36 | N/A | 76.41 |  | 0 | 76.41 | 0 | 0
Valid through: | [7 empty] | Product Total |  | 109570
FOB Point: None | [7 empty] | Service Total : |  | 4893
[8 empty] | Subscription Total |  | 3600
[8 empty] | Total Price: |  | 118063
Notes
Signed:
This Price Estimate does not constitute an offer by Cisco to sell products, but is instead an invitation to issue a purchase order to Cisco until the valid date specified in this Price Estimate.Such a purchase order will be subject to Cisco standard procedures, terms and conditions for the acceptance of purchase orders.This order may subject to sales tax, VAT, duty and freight charges even if not noted on this estimate.

## Main
Exhibit 2
Line Number | Part Number | Description | Service Duration (Months) | Estimated Lead Time (Days) | Unit List Price | Pricing Term | Qty | Unit Net Price | Disc(%) | Extended Net Price
2 | WS-C4510R+E | Catalyst 4500E 10 slot chassis for 48Gbps/slot, fan, no ps | --- | 28 | 11370 |  | 1 | 11370 | 0 | 11370
2.0.1 | CON-SMB3-C4510R+E | SMB SA 8X5XNBD 3 YR Cat 4500E 10 slot chassis for 48Gbp | 36 | N/A | 8664 |  | 1 | 8664 | 0 | 8664
2.1 | C4K-SLOT-CVR-E | Catalyst 4500 E-Series Family Slot Cover | --- | 28 | 0 |  | 2 | 0 | 0 | 0
2.2 | C4500E-IPB | Paper IP Base License | --- | 28 | 0 |  | 1 | 0 | 0 | 0
2.3 | WS-X45-SUP8-E | Catalyst 4500 E-Series Supervisor 8-E | --- | 28 | 20995 |  | 1 | 20995 | 0 | 20995
2.4 | S45EUK9-S8-38E | CAT4500e SUP8e Universal Crypto Image | --- | 28 | 0 |  | 1 | 0 | 0 | 0
2.5 | WS-X4748-12X48U+E | Catalyst 4500E 48-Port UPOE w/ 12p mGig and 36p 10/100/1000 | --- | 28 | 11500 |  | 1 | 11500 | 0 | 11500
2.6 | WS-X4748-12X48U+E | Catalyst 4500E 48-Port UPOE w/ 12p mGig and 36p 10/100/1000 | --- | 28 | 11500 |  | 1 | 11500 | 0 | 11500
2.7 | WS-X4748-UPOE+E | Catalyst 4500E 48-Port UPOE 10/100/1000(RJ45) | --- | 42 | 9920 |  | 1 | 9920 | 0 | 9920
2.8 | WS-X4748-UPOE+E | Catalyst 4500E 48-Port UPOE 10/100/1000(RJ45) | --- | 42 | 9920 |  | 1 | 9920 | 0 | 9920
2.9 | WS-X4748-UPOE+E | Catalyst 4500E 48-Port UPOE 10/100/1000(RJ45) | --- | 42 | 9920 |  | 1 | 9920 | 0 | 9920
2.1 | WS-X4748-UPOE+E | Catalyst 4500E 48-Port UPOE 10/100/1000(RJ45) | --- | 42 | 9920 |  | 1 | 9920 | 0 | 9920
2.12 | WS-X4748-UPOE+E | Catalyst 4500E 48-Port UPOE 10/100/1000(RJ45) | --- | 42 | 9920 |  | 1 | 9920 | 0 | 9920
2.12 | PWR-C45-4200ACV | Catalyst 4500 4200W AC dual input Power Supply (Data + PoE) | --- | 28 | 3145 |  | 1 | 3145 | 0 | 3145
2.13 | CAB-C19-CBN | Cabinet Jumper Power Cord, 250 VAC 16A, C20-C19 Connectors | --- | 8 | 0 |  | 4 | 0 | 0 | 0
2.14 | PWR-C45-4200ACV/2 | Catalyst 4500 4200W AC dual input Power Supply (Data + PoE) | --- | 28 | 3145 |  | 1 | 3145 | 0 | 3145
2.15 | C4500E-DNA-E | C4500 DNA Essentials Term licenses | --- | 28 | 0 |  | 1 | 0 | 0 | 0
2.15.0.1 | C4500E-DNA-E-3Y | C4500E DNA Essentials 3 Year Term license | 36 | N/A | 3600 |  | 1 | 3600 | 0 | 3600
3 | AIR-AP3802I-BK910 | 802.11ac W2 10 AP w/CA; 4x4:3SS; Int Ant; mGig -B Domain | --- | 28 | 18485 |  | 1 | 18485 | 0 | 18485
3.1 | AIR-AP3802I-BBULK | BOM Level AP3800i Bulk PID for B Domain | --- | 28 | 0 |  | 10 | 0 | 0 | 0
3.2 | AIR-AP-T-RAIL-R | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | --- | 28 | 0 |  | 10 | 0 | 0 | 0
3.3 | AIR-AP-BRACKET-1 | 802.11 AP Low Profile Mounting Bracket (Default) | --- | 28 | 0 |  | 10 | 0 | 0 | 0
3.4 | SW3802-CAPWAP-K9 | Cisco Aironet 3800 Series CAPWAP Software Image | --- | 28 | 0 |  | 10 | 0 | 0 | 0
6 | CP-7821-K9-RF | Cisco UC Phone 7821 REMANUFACTURED | --- | N/A | 153 |  | 20 | 153 | 0 | 3060
6.0.1 | CON-SNT-CP7821K9 | SNTC-8X5XNBD Cisco UC Phone 7821 | 36 | N/A | 30 |  | 0 | 30 | 0 | 0
7 | CP-7800-WMK= | Spare Wallmount Kit for Cisco UC Phone 7800 Series | --- | 28 | 80 |  | 20 | 80 | 0 | 1600
8 | CP-8832-W-K9 | Cisco IP Conference Phone 8832 in White Color N America | --- | 56 | 1595 |  | 1 | 1595 | 0 | 1595
8.0.1 | CON-SNT-CPW8832W | SNTC-8X5XNBD Cisco IP Conference Phone 8832 in White | 36 | N/A | 264 |  | 1 | 264 | 0 | 264
8.1 | CP-8832-POE | Cisco IP Conference Phone 8832 PoE Accessories for Worldwide | --- | 60 | 125 |  | 1 | 125 | 0 | 125
9 | CP-8845-K9-RF | Cisco IP Phone 8845 REMANUFACTURED | --- | N/A | 345 |  | 12 | 345 | 0 | 4140
9.0.1 | CON-SNT-CP8845K9 | SNTC-8X5XNBD Cisco IP Phone 8845 | 36 | N/A | 54 |  | 0 | 54 | 0 | 0
10 | CP-8865-K9= | Cisco IP Phone 8865 | --- | 35 | 795 |  | 1 | 795 | 0 | 795
10.0.1 | CON-SNT-CP8865KP | SNTC-8X5XNBD Cisco IP Phone 8865 | 36 | N/A | 75 |  | 1 | 75 | 0 | 75
11 | CP-8800-V-KEM | 8800 Series Video KEM, 28 Button | --- | N/A | 520 |  | 4 | 520 | 0 | 2080
11.0.1 | CON-SNT-CP88E0VK | SNTC-8X5XNBD 8800 Series Video KEM, 28 Button | 36 | N/A | 76.41 |  | 0 | 76.41 | 0 | 0
Valid through: | [7 empty] | Product Total |  | 143135
FOB Point: None | [7 empty] | Service Total : |  | 9003
[8 empty] | Subscription Total |  | 3600
[8 empty] | Total Price: |  | 155738
Notes
Signed:
This Price Estimate does not constitute an offer by Cisco to sell products, but is instead an invitation to issue a purchase order to Cisco until the valid date specified in this Price Estimate.Such a purchase order will be subject to Cisco standard procedures, terms and conditions for the acceptance of purchase orders.This order may subject to sales tax, VAT, duty and freight charges even if not noted on this estimate.

## Workforce
Exhibit 2
Line Number | Part Number | Description | Service Duration (Months) | Estimated Lead Time (Days) | Unit List Price | Pricing Term | Qty | Unit Net Price | Disc(%) | Extended Net Price
2 | WS-C4507R+E | Catalyst4500E 7 slot chassis for 48Gbps/slot, fan, no ps | --- | 28 | 7940 |  | 1 | 7940 | 0 | 7940
2.0.1 | CON-SMB3-C4507R+E | SMB SA 8X5XNBD 3 YR Catalyst4500E 7 slot chassis for 48Gbps | 36 | N/A | 4554 |  | 1 | 4554 | 0 | 4554
2.1 | S45EUK9-S8-38E | CAT4500e SUP8e Universal Crypto Image | --- | 28 | 0 |  | 1 | 0 | 0 | 0
2.2 | C4K-SLOT-CVR-E | Catalyst 4500 E-Series Family Slot Cover | --- | 28 | 0 |  | 1 | 0 | 0 | 0
2.3 | C4500E-IPB | Paper IP Base License | --- | 28 | 0 |  | 1 | 0 | 0 | 0
2.4 | WS-X45-SUP8-E | Catalyst 4500 E-Series Supervisor 8-E | --- | 28 | 20995 |  | 1 | 20995 | 0 | 20995
2.5 | WS-X4748-12X48U+E | Catalyst 4500E 48-Port UPOE w/ 12p mGig and 36p 10/100/1000 | --- | 28 | 11500 |  | 1 | 11500 | 0 | 11500
2.6 | WS-X4748-UPOE+E | Catalyst 4500E 48-Port UPOE 10/100/1000(RJ45) | --- | 42 | 9920 |  | 1 | 9920 | 0 | 9920
2.7 | WS-X4748-12X48U+E | Catalyst 4500E 48-Port UPOE w/ 12p mGig and 36p 10/100/1000 | --- | 28 | 11500 |  | 1 | 11500 | 0 | 11500
2.1 | PWR-C45-4200ACV | Catalyst 4500 4200W AC dual input Power Supply (Data + PoE) | --- | 28 | 3145 |  | 1 | 3145 | 0 | 3145
2.11 | CAB-C19-CBN | Cabinet Jumper Power Cord, 250 VAC 16A, C20-C19 Connectors | --- | 8 | 0 |  | 4 | 0 | 0 | 0
2.12 | PWR-C45-4200ACV/2 | Catalyst 4500 4200W AC dual input Power Supply (Data + PoE) | --- | 28 | 3145 |  | 1 | 3145 | 0 | 3145
2.13 | C4500E-DNA-E | C4500 DNA Essentials Term licenses | --- | 28 | 0 |  | 1 | 0 | 0 | 0
2.13.0.1 | C4500E-DNA-E-3Y | C4500E DNA Essentials 3 Year Term license | 36 | N/A | 3600 |  | 1 | 3600 | 0 | 3600
3 | AIR-AP3802I-BK910 | 802.11ac W2 10 AP w/CA; 4x4:3SS; Int Ant; mGig -B Domain | --- | 28 | 18485 |  | 2 | 18485 | 0 | 36970
3.1 | AIR-AP3802I-BBULK | BOM Level AP3800i Bulk PID for B Domain | --- | 28 | 0 |  | 20 | 0 | 0 | 0
3.2 | AIR-AP-T-RAIL-R | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | --- | 28 | 0 |  | 20 | 0 | 0 | 0
3.3 | AIR-AP-BRACKET-1 | 802.11 AP Low Profile Mounting Bracket (Default) | --- | 28 | 0 |  | 20 | 0 | 0 | 0
3.4 | SW3802-CAPWAP-K9 | Cisco Aironet 3800 Series CAPWAP Software Image | --- | 28 | 0 |  | 20 | 0 | 0 | 0
6 | CP-7821-K9-RF | Cisco UC Phone 7821 REMANUFACTURED | --- | N/A | 153 |  | 15 | 153 | 0 | 2295
6.0.1 | CON-SNT-CP7821K9 | SNTC-8X5XNBD Cisco UC Phone 7821 | 36 | N/A | 30 |  | 0 | 30 | 0 | 0
7 | CP-7800-WMK= | Spare Wallmount Kit for Cisco UC Phone 7800 Series | --- | 28 | 80 |  | 15 | 80 | 0 | 1200
8 | CP-8832-W-K9 | Cisco IP Conference Phone 8832 in White Color N America | --- | 56 | 1595 |  | 1 | 1595 | 0 | 1595
8.0.1 | CON-SNT-CPW8832W | SNTC-8X5XNBD Cisco IP Conference Phone 8832 in White | 36 | N/A | 264 |  | 1 | 264 | 0 | 264
8.1 | CP-8832-POE | Cisco IP Conference Phone 8832 PoE Accessories for Worldwide | --- | 60 | 125 |  | 1 | 125 | 0 | 125
9 | CP-8845-K9-RF | Cisco IP Phone 8845 REMANUFACTURED | --- | N/A | 345 |  | 9 | 345 | 0 | 3105
9.0.1 | CON-SNT-CP8845K9 | SNTC-8X5XNBD Cisco IP Phone 8845 | 36 | N/A | 54 |  | 0 | 54 | 0 | 0
10 | CP-8865-K9= | Cisco IP Phone 8865 | --- | 35 | 795 |  | 3 | 795 | 0 | 2385
10.0.1 | CON-SNT-CP8865KP | SNTC-8X5XNBD Cisco IP Phone 8865 | 36 | N/A | 75 |  | 3 | 75 | 0 | 225
11 | CP-8800-A-KEM | 8800 Series Audio KEM, 28 Button | --- | N/A | 520 |  | 2 | 520 | 0 | 1040
11.0.1 | CON-SNT-CP880KMA | SNTC-8X5XNBD 8800 Series Audio KEM, 28 Button | 36 | N/A | 76.41 |  | 0 | 76.41 | 0 | 0
12 | CP-8800-V-KEM | 8800 Series Video KEM, 28 Button | --- | N/A | 520 |  | 3 | 520 | 0 | 1560
12.0.1 | CON-SNT-CP88E0VK | SNTC-8X5XNBD 8800 Series Video KEM, 28 Button | 36 | N/A | 76.41 |  | 3 | 76.41 | 0 | 229.23
Valid through: | [7 empty] | Product Total |  | 118420
FOB Point: None | [7 empty] | Service Total : |  | 5272.23
[8 empty] | Subscription Total |  | 3600
[8 empty] | Total Price: |  | 127292.23
Notes
Signed:
This Price Estimate does not constitute an offer by Cisco to sell products, but is instead an invitation to issue a purchase order to Cisco until the valid date specified in this Price Estimate.Such a purchase order will be subject to Cisco standard procedures, terms and conditions for the acceptance of purchase orders.This order may subject to sales tax, VAT, duty and freight charges even if not noted on this estimate.

## Automotive
Exhibit 2
Line Number | Part Number | Description | Service Duration (Months) | Estimated Lead Time (Days) | Unit List Price | Pricing Term | Qty | Unit Net Price | Disc(%) | Extended Net Price
2 | WS-C4507R+E | Catalyst4500E 7 slot chassis for 48Gbps/slot, fan, no ps | --- | 28 | 7940 |  | 1 | 7940 | 0 | 7940
2.0.1 | CON-SMB3-C4507R+E | SMB SA 8X5XNBD 3 YR Catalyst4500E 7 slot chassis for 48Gbps | 36 | N/A | 4554 |  | 1 | 4554 | 0 | 4554
2.1 | C4K-SLOT-CVR-E | Catalyst 4500 E-Series Family Slot Cover | --- | 28 | 0 |  | 4 | 0 | 0 | 0
2.2 | C4500E-IPB | Paper IP Base License | --- | 28 | 0 |  | 1 | 0 | 0 | 0
2.3 | WS-X45-SUP8-E | Catalyst 4500 E-Series Supervisor 8-E | --- | 28 | 20995 |  | 1 | 20995 | 0 | 20995
2.4 | S45EUK9-S8-38E | CAT4500e SUP8e Universal Crypto Image | --- | 28 | 0 |  | 1 | 0 | 0 | 0
2.5 | WS-X4748-12X48U+E | Catalyst 4500E 48-Port UPOE w/ 12p mGig and 36p 10/100/1000 | --- | 28 | 11500 |  | 1 | 11500 | 0 | 11500
2.6 | WS-X4748-12X48U+E | Catalyst 4500E 48-Port UPOE w/ 12p mGig and 36p 10/100/1000 | --- | 28 | 11500 |  | 1 | 11500 | 0 | 11500
2.65 | WS-X4748-12X48U+E | Catalyst 4500E 48-Port UPOE w/ 12p mGig and 36p 10/100/1000 | --- | 28 | 11500 |  | 1 | 11500 | 0 | 11500
2.7 | WS-X4748-UPOE+E | Catalyst 4500E 48-Port UPOE 10/100/1000(RJ45) | --- | 42 | 9920 |  | 1 | 9920 | 0 | 9920
2.8 | PWR-C45-4200ACV | Catalyst 4500 4200W AC dual input Power Supply (Data + PoE) | --- | 28 | 3145 |  | 1 | 3145 | 0 | 3145
2.9 | CAB-C19-CBN | Cabinet Jumper Power Cord, 250 VAC 16A, C20-C19 Connectors | --- | 8 | 0 |  | 4 | 0 | 0 | 0
2.1 | PWR-C45-4200ACV/2 | Catalyst 4500 4200W AC dual input Power Supply (Data + PoE) | --- | 28 | 3145 |  | 1 | 3145 | 0 | 3145
2.12 | WS-X4748-UPOE+E | Catalyst 4500E 48-Port UPOE 10/100/1000(RJ45) | --- | 42 | 9920 |  | 1 | 9920 | 0 | 9920
2.13 | C4500E-DNA-E | C4500 DNA Essentials Term licenses | --- | 28 | 0 |  | 1 | 0 | 0 | 0
2.13.0.1 | C4500E-DNA-E-3Y | C4500E DNA Essentials 3 Year Term license | 36 | N/A | 3600 |  | 1 | 3600 | 0 | 3600
3 | AIR-AP3802I-BK910 | 802.11ac W2 10 AP w/CA; 4x4:3SS; Int Ant; mGig -B Domain | --- | 28 | 18485 |  | 2 | 18485 | 0 | 36970
3.1 | AIR-AP3802I-BBULK | BOM Level AP3800i Bulk PID for B Domain | --- | 28 | 0 |  | 20 | 0 | 0 | 0
3.2 | AIR-AP-T-RAIL-R | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | --- | 28 | 0 |  | 20 | 0 | 0 | 0
3.3 | AIR-AP-BRACKET-1 | 802.11 AP Low Profile Mounting Bracket (Default) | --- | 28 | 0 |  | 20 | 0 | 0 | 0
3.4 | SW3802-CAPWAP-K9 | Cisco Aironet 3800 Series CAPWAP Software Image | --- | 28 | 0 |  | 20 | 0 | 0 | 0
4 | SFP-10G-SR-S= | 10GBASE-SR SFP Module, Enterprise-Class | --- | 28 | 700 |  | 2 | 700 | 0 | 1400
5 | SFP-10G-LR-S= | 10GBASE-LR SFP Module, Enterprise-Class | --- | 28 | 2000 |  | 6 | 2000 | 0 | 12000
6 | CP-7821-K9-RF | Cisco UC Phone 7821 REMANUFACTURED | --- | N/A | 153 |  | 12 | 153 | 0 | 1836
6.0.1 | CON-SNT-CP7821K9 | SNTC-8X5XNBD Cisco UC Phone 7821 | 36 | N/A | 30 |  | 0 | 30 | 0 | 0
7 | CP-7800-WMK= | Spare Wallmount Kit for Cisco UC Phone 7800 Series | --- | 28 | 80 |  | 15 | 80 | 0 | 1200
8 | CP-8832-W-K9 | Cisco IP Conference Phone 8832 in White Color N America | --- | 56 | 1595 |  | 1 | 1595 | 0 | 1595
8.0.1 | CON-SNT-CPW8832W | SNTC-8X5XNBD Cisco IP Conference Phone 8832 in White | 36 | N/A | 264 |  | 1 | 264 | 0 | 264
8.1 | CP-8832-POE | Cisco IP Conference Phone 8832 PoE Accessories for Worldwide | --- | 60 | 125 |  | 1 | 125 | 0 | 125
9 | CP-8845-K9-RF | Cisco IP Phone 8845 REMANUFACTURED | --- | N/A | 345 |  | 9 | 345 | 0 | 3105
9.0.1 | CON-SNT-CP8845K9 | SNTC-8X5XNBD Cisco IP Phone 8845 | 36 | N/A | 54 |  | 0 | 54 | 0 | 0
10 | CP-8865-K9= | Cisco IP Phone 8865 | --- | 35 | 795 |  | 1 | 795 | 0 | 795
10.0.1 | CON-SNT-CP8865KP | SNTC-8X5XNBD Cisco IP Phone 8865 | 36 | N/A | 75 |  | 1 | 75 | 0 | 75
11 | CP-8800-V-KEM | 8800 Series Video KEM, 28 Button | --- | N/A | 520 |  | 1 | 520 | 0 | 520
11.0.1 | CON-SNT-CP88E0VK | SNTC-8X5XNBD 8800 Series Video KEM, 28 Button | 36 | N/A | 76.41 |  | 0 | 76.41 | 0 | 0
Valid through: | [7 empty] | Product Total |  | 149111
FOB Point: None | [7 empty] | Service Total : |  | 4893
[8 empty] | Subscription Total |  | 3600
[8 empty] | Total Price: |  | 157604
Notes
Signed:
This Price Estimate does not constitute an offer by Cisco to sell products, but is instead an invitation to issue a purchase order to Cisco until the valid date specified in this Price Estimate.Such a purchase order will be subject to Cisco standard procedures, terms and conditions for the acceptance of purchase orders.This order may subject to sales tax, VAT, duty and freight charges even if not noted on this estimate.

## Central Plant
Exhibit 2
Line Number | Part Number | Description | Service Duration (Months) | Estimated Lead Time (Days) | Unit List Price | Pricing Term | Qty | Unit Net Price | Disc(%) | Extended Net Price
2 | WS-C3850-48U-E | Cisco Catalyst 3850 48 Port UPOE IP Services | --- | 28 | 23180 |  | 1 | 23180 | 0 | 23180
2.0.1 | CON-SMB3-WS3848UE | SMB SA 8X5XNBD 3 YR Cisco Catalyst 3850 | 36 | N/A | 2334 |  | 1 | 2334 | 0 | 2334
2.1 | S3850UK9-36E | CAT3850 Universal k9 image | --- | 28 | 0 |  | 1 | 0 | 0 | 0
2.2 | C3850-NM-2-10G | Cisco Catalyst 3850 2 x 10GE Network Module | --- | 28 | 2550 |  | 1 | 2550 | 0 | 2550
2.3 | PWR-C1-715WAC/2 | 715W AC Config 1 Secondary Power Supply | --- | 14 | 1250 |  | 1 | 1250 | 0 | 1250
2.4 | CAB-TA-NA | North America AC Type A Power Cable | --- | 14 | 0 |  | 2 | 0 | 0 | 0
2.5 | C3850-STACK-NONE | No Stack Cable Selected | --- | 28 | 0 |  | 1 | 0 | 0 | 0
2.6 | C3850-SPWR-NONE | No Stack Power Cable Selected | --- | 28 | 0 |  | 1 | 0 | 0 | 0
2.7 | PWR-C1-1100WAC | 1100W AC Config 1 Power Supply | --- | 14 | 0 |  | 1 | 0 | 0 | 0
2.8 | C3850-DNA-A-48 | C3850 DNA Advantage, 48-port Term licenses | --- | 3 | 0 |  | 1 | 0 | 0 | 0
2.8.0.1 | C3850-DNA-A-48-3Y | C3850 DNA Advantage, 48-port, 3 Year Term license | 36 | N/A | 3770 |  | 1 | 3770 | 0 | 3770
3 | AIR-AP3802I-BK910 | 802.11ac W2 10 AP w/CA; 4x4:3SS; Int Ant; mGig -B Domain | --- | 28 | 18485 |  | 1 | 18485 | 0 | 18485
3.1 | AIR-AP3802I-BBULK | BOM Level AP3800i Bulk PID for B Domain | --- | 28 | 0 |  | 10 | 0 | 0 | 0
3.2 | AIR-AP-T-RAIL-R | Ceiling Grid Clip for Aironet APs - Recessed Mount (Default) | --- | 28 | 0 |  | 10 | 0 | 0 | 0
3.3 | AIR-AP-BRACKET-1 | 802.11 AP Low Profile Mounting Bracket (Default) | --- | 28 | 0 |  | 10 | 0 | 0 | 0
3.4 | SW3802-CAPWAP-K9 | Cisco Aironet 3800 Series CAPWAP Software Image | --- | 28 | 0 |  | 10 | 0 | 0 | 0
6 | CP-7821-K9-RF | Cisco UC Phone 7821 REMANUFACTURED | --- | N/A | 153 |  | 1 | 153 | 0 | 153
6.0.1 | CON-SNT-CP7821K9 | SNTC-8X5XNBD Cisco UC Phone 7821 | 36 | N/A | 30 |  | 0 | 30 | 0 | 0
7 | CP-7800-WMK= | Spare Wallmount Kit for Cisco UC Phone 7800 Series | --- | 28 | 80 |  | 1 | 80 | 0 | 80
8 | CP-8832-W-K9 | Cisco IP Conference Phone 8832 in White Color N America | --- | 56 | 1595 |  | 0 | 1595 | 0 | 0
8.0.1 | CON-SNT-CPW8832W | SNTC-8X5XNBD Cisco IP Conference Phone 8832 in White | 36 | N/A | 264 |  | 0 | 264 | 0 | 0
8.1 | CP-8832-POE | Cisco IP Conference Phone 8832 PoE Accessories for Worldwide | --- | 60 | 125 |  | 0 | 125 | 0 | 0
9 | CP-8845-K9-RF | Cisco IP Phone 8845 REMANUFACTURED | --- | N/A | 345 |  | 0 | 345 | 0 | 0
9.0.1 | CON-SNT-CP8845K9 | SNTC-8X5XNBD Cisco IP Phone 8845 | 36 | N/A | 54 |  | 0 | 54 | 0 | 0
10 | CP-8865-K9= | Cisco IP Phone 8865 | --- | 35 | 795 |  | 0 | 795 | 0 | 0
10.0.1 | CON-SNT-CP8865KP | SNTC-8X5XNBD Cisco IP Phone 8865 | 36 | N/A | 75 |  | 0 | 75 | 0 | 0
11 | CP-8800-V-KEM | 8800 Series Video KEM, 28 Button | --- | N/A | 520 |  | 0 | 520 | 0 | 0
11.0.1 | CON-SNT-CP88E0VK | SNTC-8X5XNBD 8800 Series Video KEM, 28 Button | 36 | N/A | 76.41 |  | 0 | 76.41 | 0 | 0
Valid through: | [7 empty] | Product Total |  | 45698
FOB Point: None | [7 empty] | Service Total : |  | 2334
[8 empty] | Subscription Total |  | 3770
[8 empty] | Total Price: |  | 51802
Notes
Signed:
This Price Estimate does not constitute an offer by Cisco to sell products, but is instead an invitation to issue a purchase order to Cisco until the valid date specified in this Price Estimate.Such a purchase order will be subject to Cisco standard procedures, terms and conditions for the acceptance of purchase orders.This order may subject to sales tax, VAT, duty and freight charges even if not noted on this estimate.

## Cables & Misc
Exhibit 2
PROJECT: | NE-North Forest Campus | [6 empty] | MDF | Academic | Automotive | PwP | WorkForce | Total
| Coop. Contract Number: | [5 empty] | CABLING | 8539.58 | 5415.58 | 8268.06 | 2053.34 | 5884.3 | 0
[7 empty] | MISC | 3809.97 | 4536.47 | 4985.02 | 607.5 | 5818.82 | 30160.86
| (Miscellaneous stuff on bottom) | [6 empty] | 12349.55 | 9952.05 | 13253.08 | 2660.84 | 11703.12 | 19757.78
Part Number | Description | Length | Unit | Total Qty | Discount | Unit Price | Unit Net Price | QTY | QTY | QTY | QTY | QTY | Extended Price
| CABLE MISCELLANEOUS | [6 empty] | 332.78 | 24 | 24 | 12 | 24 | 416.78
HLT3I-X0 | Panduit Tak-Ty Hook and loop cable ties, 12" length, HLT3I-X0, roll of 10 | 12" | Roll | 0 | 0% | 12.17 | 12.17 | 0 | 0 | 0 | 0 | 0 | 0
43108-8 | Leviton Hook and loop cable ties, black, 8" length, 25/roll | 8" | Roll | 12 | 0% | 12 | 12 | 5 | 2 | 2 | 1 | 2 | 144
S100X150VAC | Panduit Lase/Injet, Self-Laminating Label, 1.00" W x 1.50" L, Clear/White, 2500 labels/package | n/a | Cassette | 1 | 0% | 267 | 267 | 1 | 0 | 0 | 0 | 0 | 267
NWSLC-3Y | Panduit Orange cable identification sleeve for 3mm Simplex cable, 1" Length, Pack of 100 | n/a | Cassette | 1 | 0% | 5.78 | 5.78 | 1 | 0 | 0 | 0 | 0 | 5.78
| CABLES | [6 empty] | 6973.14 | 4939.66 | 7792.14 | 1589.42 | 5408.38 | 26702.74
CPCSSX2-0ZF005 | Commscope, Systimax solution, CAT6A, RJ45, Straight patch cable, No boot, Blue Color | 5 ft | Each | 0 | 0% | 10.86 | 10.86 | 0 | 0 | 0 | 0 | 0 | 0
CPCSSX2-0ZF007 | Commscope, Systimax solution, CAT6A, RJ45, Straight patch cable, No boot, Blue Color | 7 ft | Each | 84 | 0% | 11.84 | 11.84 | 24 | 20 | 25 | 0 | 15 | 994.56
CPCSSX2-0ZF010 | Commscope, Systimax solution, CAT6A, RJ45, Straight patch cable, No boot, Blue Color | 10 ft | Each | 84 | 0% | 13.28 | 13.28 | 24 | 20 | 25 | 0 | 15 | 1115.52
CPCSSX2-0ZF015 | Commscope, Systimax solution, CAT6A, RJ45, Straight patch cable, No boot, Blue Color | 15 ft | Each | 0 | 0% | 15.72 | 15.72 | 0 | 0 | 0 | 0 | 0 | 0
CPCSSX2-0ZF020 | Commscope, Systimax solution, CAT6A, RJ45, Straight patch cable, No boot, Blue Color | 20 ft | Each | 0 | 0% | 18.12 | 18.12 | 0 | 0 | 0 | 0 | 0 | 0
CPCSSX2-0ZF025 | Commscope, Systimax solution, CAT6A, RJ45, Straight patch cable, No boot, Blue Color | 25 ft | Each | 0 | 0% | 20.53 | 20.53 | 0 | 0 | 0 | 0 | 0 | 0
CPCSSX2-0ZF030 | Commscope, Systimax solution, CAT6A, RJ45, Straight patch cable, No boot, Blue Color | 30 ft | Each | 0 | 0% | 22.95 | 22.95 | 0 | 0 | 0 | 0 | 0 | 0
CPCSSX2-0ZF035 | Commscope, Systimax solution, CAT6A, RJ45, Straight patch cable, No boot, Blue Color | 35 ft | Each | 0 | 0% | 25.37 | 25.37 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-03F003 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 3 ft | Each | 0 | 0% | 7.79 | 7.79 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-03F004 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 4 ft | Each | 497 | 0% | 8.18 | 8.18 | 96 | 86 | 164 | 48 | 103 | 4065.46
CPC3312-03F005 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 5 ft | Each | 497 | 0% | 8.55 | 8.55 | 96 | 86 | 164 | 48 | 103 | 4249.35
CPC3312-03F006 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 6 ft | Each | 497 | 0% | 8.93 | 8.93 | 96 | 86 | 164 | 48 | 103 | 4438.21
CPC3312-03F007 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 7 ft | Each | 545 | 0% | 9.3 | 9.3 | 192 | 86 | 164 | 0 | 103 | 5068.5
CPC3312-03F010 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 10 ft | Each | 0 | 0% | 10.44 | 10.44 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-03F015 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 15 ft | Each | 60 | 0% | 12.3 | 12.3 | 30 | 10 | 10 | 0 | 10 | 738
CPC3312-03F020 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 20 ft | Each | 60 | 0% | 14.2 | 14.2 | 30 | 10 | 10 | 0 | 10 | 852
CPC3312-03F025 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 25 ft | Each | 50 | 0% | 16.06 | 16.06 | 20 | 10 | 10 | 0 | 10 | 803
CPC3312-03F030 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 30 ft | Each | 0 | 0% | 17.95 | 17.95 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-03F035 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 35 ft | Each | 0 | 0% | 19.83 | 19.83 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-03F050 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Gray Color | 50 ft | Each | 0 | 0% | 25.46 | 25.46 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-07F003 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 3 ft | Each | 0 | 0% | 7.79 | 7.79 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-07F004 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 4 ft | Each | 0 | 0% | 8.18 | 8.18 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-07F005 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 5 ft | Each | 0 | 0% | 8.55 | 8.55 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-07F006 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 6 ft | Each | 0 | 0% | 8.93 | 8.93 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-07F007 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 7 ft | Each | 86 | 0% | 9.3 | 9.3 | 20 | 20 | 20 | 6 | 20 | 799.8
CPC3312-07F010 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 10 ft | Each | 86 | 0% | 10.44 | 10.44 | 20 | 20 | 20 | 6 | 20 | 897.84
CPC3312-07F015 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 15 ft | Each | 86 | 0% | 12.3 | 12.3 | 20 | 20 | 20 | 6 | 20 | 1057.8
CPC3312-07F020 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 20 ft | Each | 86 | 0% | 14.2 | 14.2 | 20 | 20 | 20 | 6 | 20 | 1221.2
CPC3312-07F025 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 25 ft | Each | 25 | 0% | 16.06 | 16.06 | 5 | 5 | 5 | 5 | 5 | 401.5
CPC3312-07F030 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 30 ft | Each | 0 | 0% | 17.95 | 17.95 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-07F035 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 35 ft | Each | 0 | 0% | 19.83 | 19.83 | 0 | 0 | 0 | 0 | 0 | 0
CPC3312-07F050 | Commscope, Systimax solution, CAT6, RJ45, Straight patch cable, No boot, Red Color | 50 ft | Each | 0 | 0% | 25.46 | 25.46 | 0 | 0 | 0 | 0 | 0 | 0
| LC - SC | [6 empty] | 543.64 | 150.44 | 150.44 | 150.44 | 150.44 | 2719.6
FEXLCSC42-MXF003 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 3 ft | Each | 20 | 0% | 37.61 | 37.61 | 4 | 4 | 4 | 4 | 4 | 752.2
FEXLCSC42-MXF005 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 5 ft | Each | 20 | 0% | 38.8 | 38.8 | 4 | 4 | 4 | 4 | 4 | 776
FEXLCSC42-MXF007 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 7 ft | Each | 20 | 0% | 39.91 | 39.91 | 4 | 4 | 4 | 4 | 4 | 798.2
FEXLCSC42-MXF010 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 10 ft | Each | 0 | 0% | 43.58 | 43.58 | 0 | 0 | 0 | 0 | 0 | 0
FEXLCSC42-MXF015 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 15 ft | Each | 4 | 0% | 46.75 | 46.75 | 4 | 0 | 0 | 0 | 0 | 187
FEXLCSC42-MXF020 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 20 ft | Each | 2 | 0% | 49.95 | 49.95 | 2 | 0 | 0 | 0 | 0 | 99.9
FEXLCSC42-MXF025 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 25 ft | Each | 2 | 0% | 53.15 | 53.15 | 2 | 0 | 0 | 0 | 0 | 106.3
FEXLCSC42-MXF030 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 30 ft | Each | 0 | 0% | 56.34 | 56.34 | 0 | 0 | 0 | 0 | 0 | 0
FEXLCSC42-MXF035 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 35 ft | Each | 0 | 0% | 59.53 | 59.53 | 0 | 0 | 0 | 0 | 0 | 0
FEXLCSC42-MXF040 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 40 ft | Each | 0 | 0% | 62.73 | 62.73 | 0 | 0 | 0 | 0 | 0 | 0
FEXLCSC42-MXF045 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 45 ft | Each | 0 | 0% | 65.92 | 65.92 | 0 | 0 | 0 | 0 | 0 | 0
FEXLCSC42-MXF050 | Commscope, Systimax solution, LC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 50 ft | Each | 0 | 0% | 69.12 | 69.12 | 0 | 0 | 0 | 0 | 0 | 0
| LC - LC | [6 empty] | 538.98 | 150.44 | 150.44 | 150.44 | 150.44 | 2714.94
FEXLCLC42-MXF003 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 3 ft | Each | 20 | 0% | 37.61 | 37.61 | 4 | 4 | 4 | 4 | 4 | 752.2
FEXLCLC42-MXF005 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 5 ft | Each | 20 | 0% | 38.8 | 38.8 | 4 | 4 | 4 | 4 | 4 | 776
FEXLCLC42-MXF007 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 7 ft | Each | 20 | 0% | 39.91 | 39.91 | 4 | 4 | 4 | 4 | 4 | 798.2
FEXLCLC42-MXF010 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 10 ft | Each | 0 | 0% | 43.58 | 43.58 | 0 | 0 | 0 | 0 | 0
FEXLCLC42-MXF015 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 15 ft | Each | 4 | 0% | 46.17 | 46.17 | 4 | 0 | 0 | 0 | 0 | 184.68
FEXLCLC42-MXF020 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 20 ft | Each | 2 | 0% | 49.37 | 49.37 | 2 | 0 | 0 | 0 | 0 | 98.74
FEXLCLC42-MXF025 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 25 ft | Each | 2 | 0% | 52.56 | 52.56 | 2 | 0 | 0 | 0 | 0 | 105.12
FEXLCLC42-MXF030 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 30 ft | Each | 0 | 0% | 55.72 | 55.72 | 0 | 0 | 0 | 0 | 0 | 0
FEXLCLC42-MXF035 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 35 ft | Each | 0 | 0% | 58.95 | 58.95 | 0 | 0 | 0 | 0 | 0 | 0
FEXLCLC42-MXF040 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 40 ft | Each | 0 | 0% | 62.15 | 62.15 | 0 | 0 | 0 | 0 | 0 | 0
FEXLCLC42-MXF045 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 45 ft | Each | 0 | 0% | 65.35 | 65.35 | 0 | 0 | 0 | 0 | 0 | 0
FEXLCLC42-MXF050 | Commscope, Systimax solution, LC - LC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 50 ft | Each | 0 | 0% | 68.54 | 68.54 | 0 | 0 | 0 | 0 | 0 | 0
| SC - SC | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
FEXSCSC42-MXF010 | Commscope, Systimax solution, SC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 10 ft | Each | 0 | 0% | 44.14 | 44.14 | 0 | 0 | 0 | 0 | 0 | 0
FEXSCSC42-MXF015 | Commscope, Systimax solution, SC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 15 ft | Each | 0 | 0% | 47.34 | 47.34 | 0 | 0 | 0 | 0 | 0 | 0
FEXSCSC42-MXF020 | Commscope, Systimax solution, SC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 20 ft | Each | 0 | 0% | 50.53 | 50.53 | 0 | 0 | 0 | 0 | 0 | 0
FEXSCSC42-MXF025 | Commscope, Systimax solution, SC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 25 ft | Each | 0 | 0% | 53.74 | 53.74 | 0 | 0 | 0 | 0 | 0 | 0
FEXSCSC42-MXF030 | Commscope, Systimax solution, SC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 30 ft | Each | 0 | 0% | 56.93 | 56.93 | 0 | 0 | 0 | 0 | 0 | 0
FEXSCSC42-MXF035 | Commscope, Systimax solution, SC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 35 ft | Each | 0 | 0% | 60.13 | 60.13 | 0 | 0 | 0 | 0 | 0 | 0
FEXSCSC42-MXF040 | Commscope, Systimax solution, SC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 40 ft | Each | 0 | 0% | 63.32 | 63.32 | 0 | 0 | 0 | 0 | 0 | 0
FEXSCSC42-MXF045 | Commscope, Systimax solution, SC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 45 ft | Each | 0 | 0% | 66.52 | 66.52 | 0 | 0 | 0 | 0 | 0 | 0
FEXSCSC42-MXF050 | Commscope, Systimax solution, SC - SC , 10Gb Duplex Multimode 50/125 OM4 fiber cable, Aqua color | 50 ft | Each | 0 | 0% | 69.7 | 69.7 | 0 | 0 | 0 | 0 | 0 | 0
| LC - SC | [6 empty] | 151.04 | 151.04 | 151.04 | 151.04 | 151.04 | 2283.4
FEWLCSC42-JXF003 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 3 ft | Each | 20 | 0% | 37.76 | 37.76 | 4 | 4 | 4 | 4 | 4 | 755.2
FEWLCSC42-JXF005 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 5 ft | Each | 20 | 0% | 37.61 | 37.61 | 4 | 4 | 4 | 4 | 4 | 752.2
FEWLCSC42-JXF007 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 7 ft | Each | 20 | 0% | 38.8 | 38.8 | 4 | 4 | 4 | 4 | 4 | 776
FEWLCSC42-JXF010 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 10 ft | Each | 0 | 0% | 39.91 | 39.91 | 0 | 0 | 0 | 0 | 0 | 0
FEWLCSC42-JXF015 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 15 ft | Each | 0 | 0% | 43.58 | 43.58 | 0 | 0 | 0 | 0 | 0 | 0
FEWLCSC42-JXF020 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 20 ft | Each | 0 | 0% | 40.66 | 40.66 | 0 | 0 | 0 | 0 | 0 | 0
FEWLCSC42-JXF025 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 25 ft | Each | 0 | 0% | 42.12 | 42.12 | 0 | 0 | 0 | 0 | 0 | 0
FEWLCSC42-JXF030 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 30 ft | Each | 0 | 0% | 43.57 | 43.57 | 0 | 0 | 0 | 0 | 0 | 0
FEWLCSC42-JXF035 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 35 ft | Each | 0 | 0% | 45.03 | 45.03 | 0 | 0 | 0 | 0 | 0 | 0
FEWLCSC42-JXF040 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 40 ft | Each | 0 | 0% | 46.47 | 46.47 | 0 | 0 | 0 | 0 | 0 | 0
FEWLCSC42-JXF045 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 45 ft | Each | 0 | 0% | 47.93 | 47.93 | 0 | 0 | 0 | 0 | 0 | 0
FEWLCSC42-JXF050 | Commscope, Systimax solution, LC - SC , TERASPEED Singlemode 8.3/125 SM fiber cable, Yellow color | 50 ft | Each | 0 | 0% | 49.38 | 49.38 | 0 | 0 | 0 | 0 | 0 | 0
| ANALOG | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
N154-050-C3 | TRIPPLITE - Cat3 25-Pair Telco Cable (RJ21 M to Open End), 50-ft. | 50 ft | Each | 0 | 0% | 81 | 81 | 0 | 0 | 0 | 0 | 0 | 0
N154-100-C3 | TRIPPLITE - Cat3 25-Pair Telco Cable (RJ21 M to Open End), 100-ft. | 100 ft | Each | 0 | 0% | 145.78 | 145.78 | 0 | 0 | 0 | 0 | 0 | 0
P110KB1005Y | Panduit PAN-PUNCH 110 - punch-down block | n/a | Each | 0 | 0% | 43.23 | 43.23 | 0 | 0 | 0 | 0 | 0 | 0
25-3-PP-5-180 | ALLEN TEL 25-Pair Cable Assembly Two Plugs 180 style - 5FT | 50 ft | Each | 0 | 0% | 19.73 | 19.73 | 0 | 0 | 0 | 0 | 0 | 0
S700A110-B1-50 | Siemon's 50-pair pre-wired S110 block with legs | n/a | Each | 0 | 0% | 125.28 | 125.28 | 0 | 0 | 0 | 0 | 0 | 0
ELN25T-0025-MM | Blackbox CAT3 Telco Connector Cable (UTP), PVC (25-3-PP-25-GY) | 25 ft | Each | 0 | 0% | 49.78 | 49.78 | 0 | 0 | 0 | 0 | 0 | 0
ELN25TP-0025-MM | Blackbox CAT3 Telco Connector Cable (UTP), PLENUM (25PP25PL3) | 25 ft | Each | 0 | 0% | 77.06 | 77.06 | 0 | 0 | 0 | 0 | 0 | 0
ELN25T-0050-MM | Blackbox CAT3 Telco Connector Cable (UTP), PVC (25-3-PP-50-GY) | 50 ft | Each | 0 | 0% | 91 | 91 | 0 | 0 | 0 | 0 | 0 | 0
ELN25TP-0050-MM | Blackbox CAT3 Telco Connector Cable (UTP), PLENUM (25PP50PL3) | 50 ft | Each | 0 | 0% | 126.95 | 126.95 | 0 | 0 | 0 | 0 | 0 | 0
S110P1-P1-03 | Siemon cable, 1 Pair Double Ended 110 Patchcord, 110 TO 110 | 03 ft | Each | 0 | 0% | 5.39 | 5.39 | 0 | 0 | 0 | 0 | 0 | 0
S110P1-P1-10 | Siemon cable, 1 Pair Double Ended 110 Patchcord, 110 TO 110 | 10 ft | Each | 0 | 0% | 8.39 | 8.39 | 0 | 0 | 0 | 0 | 0 | 0
S110P1-P1-15 | Siemon cable, 1 Pair Double Ended 110 Patchcord, 110 TO 110 | 15 ft | Each | 0 | 0% | 10.39 | 10.39 | 0 | 0 | 0 | 0 | 0 | 0
S110P1-P1-20 | Siemon cable, 1 Pair Double Ended 110 Patchcord, 110 TO 110 | 20 ft | Each | 0 | 0% | 15.39 | 15.39 | 0 | 0 | 0 | 0 | 0 | 0
S110P1-U1-15 | Siemon cable, 1 Pair Double Ended 110 Patchcord, 110 TO RJ11 | 15 ft | Each | 0 | 0% | 9.5 | 9.5 | 0 | 0 | 0 | 0 | 0 | 0
S110P1-U4-15 | Siemon cable, 1 Pair Double Ended 110 Patchcord, 110 TO RJ45 | 15 ft | Each | 0 | 0% | 9.07 | 9.07 | 0 | 0 | 0 | 0 | 0 | 0
02970 | Cables2Go, RJ11 Modular Telephone Cable, RJ11 to RJ11, 7ft | 7ft | Each | 0 | 0% | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0
09590 | Cables2Go, RJ11 Modular Telephone Cable, RJ11 to RJ11, 14ft | 14ft | Each | 0 | 0% | 1.8 | 1.8 | 0 | 0 | 0 | 0 | 0 | 0
EYN7001BL-1000 | Blackbox Cross-Connect Wire, 1 Pair, White/Blue w Blue - 1000ft | 1000 ft | Each | 0 | 0% | 40.56 | 40.56 | 0 | 0 | 0 | 0 | 0 | 0
| ALL CABLING TOTALS | [6 empty] | 8539.58 | 5415.58 | 8268.06 | 2053.34 | 5884.3 | 34837.46
| MISCELLANEOUS | [6 empty] | MDF | Academic | Automotive | PwP | WorkForce
| AP BRACKET | [6 empty] | 0 | 0 | 363.55 | 0 | 1154.85 | 1518.4
TW-HWM-C-CVR | Ventev TerraWave Horizontal Right Angle Wall Mount with Lid | n/a | Each | 15 | 0% | 76.99 | 76.99 | 0 | 0 | 0 | 0 | 15 | 1154.85
1045-00 | Oberon 1045-00 above ceiling AP mount | n/a | Each | 5 | 0% | 72.71 | 72.71 | 0 | 0 | 5 | 0 | 0 | 363.55
| VARIPHY LICENSING | [6 empty] | 0 | 127.5 | 212.5 | 8.5 | 255 | 603.5
INST-CDR-1 | Variphy Insight CDR - Call History, Call Accounting, etc | n/a | Each | 71 | 0% | 8.5 | 8.5 | 0 | 15 | 25 | 1 | 30 | 603.5
| APC - UNINTERRUPTABLE POWER SUPPLY | [6 empty] | 3809.97 | 4408.97 | 4408.97 | 599 | 4408.97 | 19115.8
SUA5000RMT5U | APC Smart-UPS 5000VA 208V Rackmount/Tower |  |  | 4 | 0% | 3150 | 3150 | 1 | 1 | 1 | 0 | 1 | 12600
SMX1500RM2U | APC Smart-UPS X 1500VA Rack/Tower LCD 120V |  |  | 1 | 0% | 599 | 599 | 0 | 0 | 0 | 1 | 0 | 599
AP9626 | APC Step-Down Transformer RM 2U 208V IN 120V OUT |  |  | 3 | 0% | 599 | 599 | 0 | 1 | 1 | 0 | 1 | 1797
AP9563 | APC Rack PDU, Basic, 1U, 20A, 120V, (10)5-20; 5-20P |  |  | 4 | 0% | 159.99 | 159.99 | 1 | 1 | 1 | 0 | 1 | 639.96
AP9564 | APC Rack PDU, Basic, 1U, 20A, 120V, (10)5-20; L5-20P |  |  | 4 | 0% | 159.99 | 159.99 | 1 | 1 | 1 | 0 | 1 | 639.96
AP9559 | APC Rack PDU, Basic, 1U, 16A, 208 & 230V, (10)C13 & (2)C19 |  |  | 4 | 0% | 209.99 | 209.99 | 1 | 1 | 1 | 0 | 1 | 839.96
AP9570 | Rack PDU Basic 1U 30A 208V Four C19s APC Basic Rack PDU input: 208V |  |  | 8 | 0% | 249.99 | 249.99 | 2 | 2 | 2 | 0 | 2 | 1999.92
AP9877 | APC Power Cord C19 to C20 |  |  | 0 | 0% | 29.99 | 29.99 | 0 | 0 | 0 | 0 | 0 | 0
| ALL MISCELLANEOUS TOTALS | [6 empty] | 3809.97 | 4536.47 | 4985.02 | 607.5 | 5818.82 | 21237.7